{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Excel_ELISA_example","Excel_example","Sheet1"],"not_rendered":{"charts":4,"images":0,"macros":1,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Excel_ELISA_example","index":0,"n_rows":99,"n_cols":45,"rows_kept":99,"cut":false,"hidden":false,"merged":[]}
[null,null,null," "]
[null,"Assayfit Pro 1.3",null,null,null,null,"ELISA",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Input",null,null,null,null,null,null,null,"Output"]
[null,"http://www.assayfit.com/",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"xdata","ydata","weights","xlimits","start","xknown","yknown",null,"xdata","ydata","weights","percent","yfitted","resid","paraminfo","param","yknown","xfromyknown","xknown","yfromxknown","xcurve","ycurve","infoname","info"]
[null,"email",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,500,2.3369999999999997,null,null,null,null,2.3180000000000001]
[null,"excelelisa@assayfit.com",null,null,null,null,"Input",1,2,3,4,5,6,7,8,9,10,11,12,null,null,250,1.7719999999999998,null,null,null,null,1.7629999999999999]
[null,"key",null,null,null,null,"A",2.3180000000000001,2.3559999999999999,6.3E-2,5.2999999999999999E-2,5.8999999999999997E-2,5.2999999999999999E-2,7.8E-2,3.3000000000000002E-2,3.5999999999999997E-2,4.2000000000000003E-2,3.5999999999999997E-2,4.2000000000000003E-2,null,null,63,0.73150000000000004,null,null,null,null,0.72199999999999998]
[null,"free",null,null,null,null,"B",1.7629999999999999,1.7809999999999999,6.8000000000000005E-2,5.7000000000000002E-2,5.5E-2,5.5E-2,6.5000000000000002E-2,4.1000000000000002E-2,0.05,3.7999999999999999E-2,0.05,3.7999999999999999E-2,null,null,31,0.40300000000000002,null,null,null,null,0.40200000000000002]
[null,"function",null,null,null,null,"C",0.72199999999999998,0.74099999999999999,9.2999999999999999E-2,6.9000000000000006E-2,5.8999999999999997E-2,7.0999999999999994E-2,0.153,3.7999999999999999E-2,4.2999999999999997E-2,4.3999999999999997E-2,4.2999999999999997E-2,4.3999999999999997E-2,null,null,7.8,0.14449999999999999,null,null,null,null,0.14199999999999999]
[null,401,null,null,null,null,"D",0.40200000000000002,0.40400000000000003,8.5999999999999993E-2,7.0000000000000007E-2,5.8000000000000003E-2,5.8999999999999997E-2,0.125,3.7999999999999999E-2,3.9E-2,3.5000000000000003E-2,3.9E-2,3.5000000000000003E-2,null,null,3.9,0.10400000000000001,null,null,null,null,9.8000000000000004E-2]
[null,{"$f":"VLOOKUP(B9,A73:D99,2,FALSE)","v":"4 parameter logistic"},null,null,null,null,"E",0.14199999999999999,0.14699999999999999,0.17299999999999999,0.11600000000000001,0.06,7.6999999999999999E-2,0.14899999999999999,0.04,4.2999999999999997E-2,4.1000000000000002E-2,4.2999999999999997E-2,4.1000000000000002E-2,null,null,2,8.1500000000000003E-2,null,null,null,null,8.4000000000000005E-2]
[null,{"$f":"VLOOKUP(B9,A73:D99, 3,FALSE)","v":"(D + ((A - D) / (1 + ((x / C) ^ B))))"},null,null,null,null,"F",9.8000000000000004E-2,0.11,0.38200000000000001,0.34699999999999998,5.8999999999999997E-2,8.7999999999999995E-2,0.20499999999999999,3.7999999999999999E-2,3.7999999999999999E-2,0.04,3.7999999999999999E-2,0.04,null,null,0,5.2499999999999998E-2,null,null,null,null,5.1999999999999998E-2]
[null,"server",null,null,null,null,"G",8.4000000000000005E-2,7.9000000000000001E-2,6.7000000000000004E-2,6.0999999999999999E-2,5.8000000000000003E-2,5.6000000000000001E-2,0.106,3.4000000000000002E-2,3.6999999999999998E-2,3.3000000000000002E-2,3.6999999999999998E-2,3.3000000000000002E-2,null,null,null,null,null,null,null,null,2.3559999999999999]
[null,"https://service3.assayfit.com/",null,null,null,null,"H",5.1999999999999998E-2,5.2999999999999999E-2,0.188,0.19900000000000001,7.5999999999999998E-2,0.13400000000000001,0.29799999999999999,3.7999999999999999E-2,3.4000000000000002E-2,3.5999999999999997E-2,3.4000000000000002E-2,3.5999999999999997E-2,null,null,null,null,null,null,null,null,1.7809999999999999]
[null,{"$f":"VLOOKUP(B13,B35:C71,2,FALSE)","v":"USA-west"},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.74099999999999999]
[null,null,null,null,null,null,null,"Sample ID",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.40400000000000003]
[null,null,null,null,null,null,"Layout",1,2,3,4,5,6,7,8,9,10,11,12,null,null,null,null,null,null,null,null,0.14699999999999999,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.9609375]
[null,null,null,null,null,null,"A","CAL-500","CAL-500",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.11]
[null,null,null,null,null,null,"B","CAL-250","CAL-250",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7.9000000000000001E-2]
[null,null,null,null,null,null,"C","CAL-63","CAL-63",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.2999999999999999E-2]
[null,null,null,null,null,null,"D","CAL-31","CAL-31",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,6.3E-2]
[null,null,null,null,null,null,"E","CAL-7.8","CAL-7.8",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,6.8000000000000005E-2]
[null,null,null,null,null,null,"F","CAL-3.9","CAL-3.9",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,9.2999999999999999E-2]
[null,null,null,null,null,null,"G","CAL-2","CAL-2",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,8.5999999999999993E-2]
[null,null,null,null,null,null,"H","CAL-0","CAL-0",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.17299999999999999]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.38200000000000001]
[null,null,null,null,null,null,null,"Concentration",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,6.7000000000000004E-2]
[null,null,null,null,null,null,"Output",1,2,3,4,5,6,7,8,9,10,11,12,null,null,null,null,null,null,null,null,0.188]
[null,null,null,null,null,null,"A",487.73159538900001,513.83435080799995,0.65388987248599995,0,0.27386325797599997,0,2.00197187336,0,0,0,0,0,null,null,null,null,null,null,null,null,5.2999999999999999E-2]
[null,null,null,null,null,null,"B",246.830347225,252.03435782700001,1.1119428953399999,7.2409955864499997E-2,0,0,0.83868450913000003,0,0,0,0,0,null,null,null,null,null,null,null,null,5.7000000000000002E-2]
[null,null," ",null,null,null,"C",62.623979467799998,64.756862750300002,3.3052168630200001,1.20220641516,0.27386325797599997,1.3817280995900001,8.4036092198399999,0,0,0,0,0,null,null,null,null,null,null,null,null,6.9000000000000006E-2]
["link","https://service3.assayfit.com/service.svc/http/Assayfitgetchart?key=free&email=excelelisa@assayfit.com&version=xl13&function=401&xdata=500;250;63;31;7.8;3.9;2;0&ydata=2.337;1.772;0.7315;0.403;0.1445;0.104;0.0815;0.0525&weights=;;;;;;;&start=;;;;;;&yknown=2.318;1.763;0.722;0.402;0.142;0.098;0.084;0.052;2.356;1.781;0.741;0.404;0.147;0.11;0.079;0.053;0.063;0.068;0.093;0.086;0.173;0.382;0.067;0.188;0.053;0.057;0.069;0.07;0.116;0.347;0.061;0.199;0.059;0.055;0.059;0.058;0.06;0.059;0.058;0.076;0.053;0.055;0.071;0.059;0.077;0.088;0.056;0.134;0.078;0.065;0.153;0.125;0.149;0.205;0.106;0.298;0.033;0.041;0.038;0.038;0.04;0.038;0.034;0.038;0.036;0.05;0.043;0.039;0.043;0.038;0.037;0.034;0.042;0.038;0.044;0.035;0.041;0.04;0.033;0.036;0.036;0.05;0.043;0.039;0.043;0.038;0.037;0.034;0.042;0.038;0.044;0.035;0.041;0.04;0.033;0.036&xknown=&xlimits=;;"," ",null,null,null,"D",30.232849957100001,30.4176322207,2.7002723135100002,1.2921246583899999,0.17494617997799999,0.27386325797599997,6.0340440237799999,0,0,0,0,0,null,null,null,null,null,null,null,null,7.0000000000000007E-2]
["response","500.0;2.337;1.0;100.0;2.33621091607;0.00078908393074;       A;3.32248916978;2.318;487.731595389;;;1e-06;0.0563527514064;Run ID:;No runid\r\n250.0;1.772;1.0;75.8;1.77401046958;-0.00201046958019;       B;-1.05928640602;1.763;246.830347225;;;1.4255399748e-06;0.0563527535055;;\r\n63.0;0.7315;1.0;31.3;0.725367158977;0.00613284102264;       C;226.688216854;0.722;62.6239794678;;;2.03216421975e-06;0.0563527565615;Function:;401.0\r\n31.0;0.403;1.0;17.2;0.410290074971;-0.00729007497072;       D;0.0563527468013;0.402;30.2328499571;;;2.8969313306e-06;0.0563527610104;;\r\n7.8;0.1445;1.0;6.2;0.145863630665;-0.00136363066499;;;0.142;7.4731952719;;;4.12969141602e-06;0.0563527674872;UTC DateTime:;3/2/2019 11:25:06 AM\r\n3.9;0.104;1.0;4.5;0.0999274149912;0.00407258500877;;;0.098;3.73483474035;;;5.88704019712e-06;0.0563527769163;;\r\n2.0;0.0815;1.0;3.5;0.0779775643028;0.00352243569722;Fit function:;;0.084;2.52650098115;;;8.39221113424e-06;0.0563527906434;User:;excelelisa@assayfit.com\r\n1e-06;0.0525;1.0;2.2;0.0563527514064;-0.00385275140641;(D + ((A - D) / (1 + ((x / C) ^ B)))) |4 parameter logistic;;0.052;0.0;;;1.19634324488e-05;0.0563528106276;;\r\n;;;;;;;;2.356;513.834350808;;;1.70543511916e-05;0.0563528397211;IP address:;85.148.227.82\r\n;;;;;;Inv function:;;1.781;252.034357827;;;2.43116593678e-05;0.056352882076;;\r\n;;;;;;(((((A - D) / (y - D)) - 1) ^ (1 / B)) * C);;0.741;64.7568627503;;;3.46572422825e-05;0.0563529437372;Kernel time:;0.016\r\n;;;;;;;;0.404;30.4176322207;;;4.940528429e-05;0.0563530335049;Service time:;0.327\r\n;;;;;;;;0.147;7.89611486264;;;7.04292077217e-05;0.0563531641907;Application time:;\r\n;;;;;;;;0.11;4.75999842514;;;0.000100399651001;0.0563533544459;;\r\n;;;;;;;;0.079;2.0897743937;;;0.000143123715957;0.0563536314236;Status code:;0.0\r\n;;;;;;;;0.053;0.0;;;0.000204028578439;0.0563540346538;;\r\n;;;;;;;;0.063;0.653889872486;;;0.000290850894565;0.056354621685;Info:;http://www.assaycloud.com/\r\n;;;;;;;;0.068;1.11194289534;;;0.000414619576909;0.0563554762976;;\r\n;;;;;;;;0.093;3.30521686302;;;0.000591056781218;0.0563567204606;Intended use;For research use only\r\n;;;;;;;;0.086;2.70027231351;;;0.000842575069001;0.0563585317388;;\r\n;;;;;;;;0.173;10.0965818641;;;0.00120112444263;0.056361168634;License:;When you use this software you agree with the software license on https://www.assayfit.com/content/agreement.txt\r\n;;;;;;;;0.382;28.3951442785;;;0.00171225090768;0.0563650074764;;\r\n;;;;;;;;0.067;1.02129820224;;;0.00244088211578;0.0563705961317;Sum of Squares:;0.000141118257355\r\n;;;;;;;;0.188;11.3691642475;;;0.00347957502981;0.0563787321849;;\r\n;;;;;;;;0.053;0.0;;;0.0049602733003;0.0563905767579;Param startvalues:;\r\n;;;;;;;;0.057;0.0724099558645;;;0.00707106787551;0.0564078201945;       A;2.337\r\n;;;;;;;;0.069;1.20220641516;;;0.010080089921;0.0564329232439;       B;0.0\r\n;;;;;;;;0.07;1.29212465839;;;0.014369571132;0.0564694681263;       C;146.255886593\r\n;;;;;;;;0.116;5.27034782508;;;0.0204843980694;0.056522669509;       D;0.0525\r\n;;;;;;;;0.347;25.2217654057;;;0.0292013283076;0.0566001181555;;\r\n;;;;;;;;0.061;0.466130230888;;;0.0416276608197;0.0567128630348;;\r\n;;;;;;;;0.199;12.3046959543;;;0.0593418945558;0.0568769855985;Param LCL:;\r\n;;;;;;;;0.059;0.273863257976;;;0.0845942428695;0.0571158893549;       A;\r\n;;;;;;;;0.055;0.0;;;0.120592474848;0.0574636282256;       B;\r\n;;;;;;;;0.059;0.273863257976;;;0.171909393556;0.0579697417557;       C;\r\n;;;;;;;;0.058;0.174946179978;;;0.245063712558;0.0587062725551;       D;\r\n;;;;;;;;0.06;0.370715483092;;;0.349348118623;0.0597779363988;;\r\n;;;;;;;;0.059;0.273863257976;;;0.498009708218;0.0613368307678;;\r\n;;;;;;;;0.058;0.174946179978;;;0.709932746902;0.0636036424447;Param UCL:;\r\n;;;;;;;;0.076;1.82583144601;;;1.01203751013;0.0668980891781;       A;\r\n;;;;;;;;0.053;0.0;;;1.44269992668;0.0716823278262;       B;\r\n;;;;;;;;0.055;0.0;;;2.05662641712;0.078622245205;       C;\r\n;;;;;;;;0.071;1.38172809959;;;2.93180317084;0.0886727247887;       D;\r\n;;;;;;;;0.059;0.273863257976;;;4.17940261827;0.10319360334;;\r\n;;;;;;;;0.077;1.91399469598;;;5.95790550312;0.124101814292;;\r\n;;;;;;;;0.088;2.87359637661;;;8.49323246076;0.154059508096;Pearson:;\r\n;;;;;;;;0.056;0.0;;;12.1074423881;0.196682866491;       R;\r\n;;;;;;;;0.134;6.79630037065;;;17.2596431168;0.256724255487;       p;\r\n;;;;;;;;0.078;2.00197187336;;;24.6043112137;0.340122702047;;\r\n;;;;;;;;0.065;0.83868450913;;;35.0744291875;0.453733839226;Spearman:;\r\n;;;;;;;;0.153;8.40360921984;;;50.0000009;0.604471068891;       R;\r\n;;;;;;;;0.125;6.03404402378;;;59.183674351;0.690840747037;       p;\r\n;;;;;;;;0.149;8.06527531015;;;68.367347802;0.772619044622;;\r\n;;;;;;;;0.205;12.8159619744;;;77.5510212531;0.8500655627;X Limits:;\r\n;;;;;;;;0.106;4.41903893144;;;86.7346947041;0.923445612068;       Low;0.0014125594347\r\n;;;;;;;;0.298;20.8632643071;;;95.9183681551;0.993019049341;       High;36379033.9704\r\n;;;;;;;;0.033;0.0;;;105.102041606;1.05903456126;;\r\n;;;;;;;;0.041;0.0;;;114.285715057;1.12172691431;Y Limits:;\r\n;;;;;;;;0.038;0.0;;;123.469388508;1.18131587112;       Low;0.0563627468013\r\n;;;;;;;;0.038;0.0;;;132.653061959;1.23800605616;       High;3.32247916978\r\n;;;;;;;;0.04;0.0;;;141.83673541;1.29198735853;;\r\n;;;;;;;;0.038;0.0;;;151.020408861;1.34343562833;;\r\n;;;;;;;;0.034;0.0;;;160.204082312;1.39251352052;;\r\n;;;;;;;;0.038;0.0;;;169.387755763;1.43937139795;;\r\n;;;;;;;;0.036;0.0;;;178.571429214;1.48414824053;;\r\n;;;;;;;;0.05;0.0;;;187.755102665;1.52697252904;;\r\n;;;;;;;;0.043;0.0;;;196.938776116;1.56796308585;;\r\n;;;;;;;;0.039;0.0;;;206.122449567;1.60722986347;;\r\n;;;;;;;;0.043;0.0;;;215.306123018;1.6448746769;;\r\n;;;;;;;;0.038;0.0;;;224.489796469;1.68099187939;;\r\n;;;;;;;;0.037;0.0;;;233.67346992;1.71566898303;;\r\n;;;;;;;;0.034;0.0;;;242.857143371;1.74898722696;;\r\n;;;;;;;;0.042;0.0;;;252.040816822;1.78102209628;;\r\n;;;;;;;;0.038;0.0;;;261.224490273;1.81184379546;;\r\n;;;;;;;;0.044;0.0;;;270.408163724;1.84151767974;;\r\n;;;;;;;;0.035;0.0;;;279.591837176;1.87010464808;;\r\n;;;;;;;;0.041;0.0;;;288.775510627;1.8976615011;;\r\n;;;;;;;;0.04;0.0;;;297.959184078;1.92424126701;;\r\n;;;;;;;;0.033;0.0;;;307.142857529;1.9498934987;;\r\n;;;;;;;;0.036;0.0;;;316.32653098;1.97466454448;;\r\n;;;;;;;;0.036;0.0;;;325.510204431;1.99859779503;;\r\n;;;;;;;;0.05;0.0;;;334.693877882;2.02173390878;;\r\n;;;;;;;;0.043;0.0;;;343.877551333;2.04411101779;;\r\n;;;;;;;;0.039;0.0;;;353.061224784;2.06576491585;;\r\n;;;;;;;;0.043;0.0;;;362.244898235;2.08672923068;;\r\n;;;;;;;;0.038;0.0;;;371.428571686;2.10703558148;;\r\n;;;;;;;;0.037;0.0;;;380.612245137;2.12671372334;;\r\n;;;;;;;;0.034;0.0;;;389.795918588;2.14579167975;;\r\n;;;;;;;;0.042;0.0;;;398.979592039;2.16429586417;;\r\n;;;;;;;;0.038;0.0;;;408.16326549;2.18225119177;;\r\n;;;;;;;;0.044;0.0;;;417.346938941;2.19968118219;;\r\n;;;;;;;;0.035;0.0;;;426.530612392;2.21660805416;;\r\n;;;;;;;;0.041;0.0;;;435.714285843;2.23305281265;;\r\n;;;;;;;;0.04;0.0;;;444.897959294;2.24903532922;;\r\n;;;;;;;;0.033;0.0;;;454.081632745;2.26457441628;;\r\n;;;;;;;;0.036;0.0;;;463.265306196;2.27968789555;;\r\n;;;;;;;;;;;;472.448979647;2.29439266147;;\r\n;;;;;;;;;;;;481.632653098;2.30870473985;;\r\n;;;;;;;;;;;;490.816326549;2.32263934221;;\r\n;;;;;;;;;;;;500.0;2.33621091607;;\r\n",null,null,null,null,"E",7.4731952718999999,7.8961148626400002,10.096581864099999,5.27034782508,0.37071548309199998,1.91399469598,8.0652753101499997,0,0,0,0,0,null,null,null,null,null,null,null,null,0.11600000000000001]
[null,null,null,null,null,null,"F",3.7348347403500002,4.75999842514,28.395144278499998,25.221765405700001,0.27386325797599997,2.8735963766100001,12.8159619744,0,0,0,0,0,null,null,null,null,null,null,null,null,0.34699999999999998]
[null,"Server"," ",null,null,null,"G",2.5265009811499999,2.0897743937,1.0212982022399999,0.46613023088799999,0.17494617997799999,0,4.4190389314400003,0,0,0,0,0,null,null,null,null,null,null,null,null,6.0999999999999999E-2]
["Public    ","https://service1.assayfit.com/","EU-west",null,null,null,"H",0,0,11.369164247500001,12.3046959543,1.82583144601,6.79630037065,20.8632643071,0,0,0,0,0,null,null,null,null,null,null,null,null,0.19900000000000001]
["Public    ","https://service2.assayfit.com/","USA-east",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.8999999999999997E-2]
["Public    ","https://service3.assayfit.com/","USA-west",null,null,null,null,"Dilution factor",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.5E-2]
["Public    ","https://service4.assayfit.com/","Asia",null,null,null,null,1,2,3,4,5,6,7,8,9,10,11,12,null,null,null,null,null,null,null,null,5.8999999999999997E-2]
[null,null,null,null,null,null,"A",1,1,5,5,5,5,5,5,5,5,5,5,null,null,null,null,null,null,null,null,5.8000000000000003E-2]
[null,null,null,null,null,null,"B",1,1,5,5,5,5,5,5,5,5,5,5,null,null,null,null,null,null,null,null,0.06]
[null,null,null,null,null,null,"C",1,1,5,5,5,5,5,5,5,5,5,5,null,null,null,null,null,null,null,null,5.8999999999999997E-2]
[null,null,null,null,null,null,"D",1,1,5,5,5,5,5,5,5,5,5,5,null,null,null,null,null,null,null,null,5.8000000000000003E-2]
[null,null,null,null,null,null,"E",1,1,5,5,5,5,5,5,5,5,5,5,null,null,null,null,null,null,null,null,7.5999999999999998E-2]
[null,null,null,null,null,null,"F",1,1,5,5,5,5,5,5,5,5,5,5,null,null,null,null,null,null,null,null,5.2999999999999999E-2]
[null,null,null,null,null,null,"G",1,1,5,5,5,5,5,5,5,5,5,5,null,null,null,null,null,null,null,null,5.5E-2]
[null,null,null,null,null,null,null,1,1,5,5,5,5,5,5,5,5,5,5,null,null,null,null,null,null,null,null,7.0999999999999994E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.8999999999999997E-2]
[null,null,null,null,null,null,null,"Concentration x dilution factor",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7.6999999999999999E-2]
[null,null,null,null,null,null,null,1,2,3,4,5,6,7,8,9,10,11,12,null,null,null,null,null,null,null,null,8.7999999999999995E-2]
[null,null,null,null,null,null,"A",{"$f":"H28*H39","v":487.73159538900001},513.83435080799995,{"$f":"J28*J39","v":3.2694493624299996},{"$f":"K28*K39","v":0},1.36931628988,0,10.009859366800001,{"$f":"O28*O39","v":0},0,0,0,0,null,null,null,null,null,null,null,null,5.6000000000000001E-2]
[null,null,null,null,null,null,"B",{"$f":"H29*H40","v":246.830347225},252.03435782700001,{"$f":"J29*J40","v":5.5597144767},0.36204977932249999,0,0,{"$f":"N29*N40","v":4.1934225456499998},0,0,0,0,0,null,null,null,null,null,null,null,null,0.13400000000000001]
[null,null,null,null,null,null,"C",{"$f":"H30*H41","v":62.623979467799998},64.756862750300002,16.5260843151,6.0110320758000002,1.36931628988,6.9086404979500005,{"$f":"N30*N41","v":42.018046099199999},0,0,0,0,0,null,null,null,null,null,null,null,null,7.8E-2]
[null,null,null,null,null,null,"D",{"$f":"H31*H42","v":30.232849957100001},30.4176322207,13.501361567550001,6.4606232919499993,0.87473089988999997,1.36931628988,{"$f":"N31*N42","v":30.170220118899998},0,0,0,0,0,null,null,null,null,null,null,null,null,6.5000000000000002E-2]
[null,null,null,null,null,null,"E",{"$f":"H32*H43","v":7.4731952718999999},7.8961148626400002,50.482909320499999,26.351739125400002,1.8535774154599998,9.5699734798999998,{"$f":"N32*N43","v":40.326376550749998},0,0,0,0,0,null,null,null,null,null,null,null,null,0.153]
[null,null,null,null,null,null,"F",{"$f":"H33*H44","v":3.7348347403500002},4.75999842514,141.97572139249999,126.1088270285,1.36931628988,14.36798188305,{"$f":"N33*N44","v":64.079809871999998},0,0,0,0,0,null,null,null,null,null,null,null,null,0.125]
[null,null,null,null,null,null,"G",{"$f":"H34*H45","v":2.5265009811499999},2.0897743937,5.1064910111999993,2.3306511544399999,0.87473089988999997,0,{"$f":"N34*N45","v":22.0951946572},0,0,0,0,0,null,null,null,null,null,null,null,null,0.14899999999999999]
[null,null,null,null,null,null,null,{"$f":"H35*H46","v":0},0,56.845821237500004,61.5234797715,9.1291572300499997,33.981501853250002,{"$f":"N35*N46","v":104.31632153549999},0,0,0,0,0,null,null,null,null,null,null,null,null,0.20499999999999999]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.106]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.29799999999999999]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.3000000000000002E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.1000000000000002E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.7999999999999999E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.7999999999999999E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.04]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.7999999999999999E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.4000000000000002E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.7999999999999999E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.5999999999999997E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.05]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.2999999999999997E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.9E-2]
[null,"functionlist",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.2999999999999997E-2]
[101,"Linear","A + (B * x)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.7999999999999999E-2]
[103,"Passing Bablok linear","A + (B * x)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.6999999999999998E-2]
[201,"2nd order polynomial","(A  + B * x  + C * x ^ 2)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.4000000000000002E-2]
[301,"3rd order polynomial","(A  + B * x  + C * x ^ 2 + D * x ^ 3)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.2000000000000003E-2]
[401,"4 parameter logistic","(D + ((A - D) / (1 + ((x / C) ^ B))))",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.7999999999999999E-2]
[402,"4 parameter logistic Assayfit","(A + ((B - A) / (1 + ((x / C) ^ D))))",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.3999999999999997E-2]
[501,"5 parameter logistic","(D + ((A - D) /((1 + ((x / C) ^ B)) ^ E)))",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.5000000000000003E-2]
[502,"5 parameter logistic Assayfit","(A + ((B - A) / ((1 + ((x / C) ^ D)) ^ E)))",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.1000000000000002E-2]
[601,"Point to point","NA",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.04]
[602,"Univariate spline","NA",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.3000000000000002E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.5999999999999997E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.5999999999999997E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.05]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.2999999999999997E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.9E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.2999999999999997E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.7999999999999999E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.6999999999999998E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.4000000000000002E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.2000000000000003E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.7999999999999999E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.3999999999999997E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.5000000000000003E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.1000000000000002E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.04]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.3000000000000002E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.5999999999999997E-2]

{"sheet":"Excel_example","index":1,"n_rows":103,"n_cols":30,"rows_kept":103,"cut":false,"hidden":false,"merged":[]}
[null,null,null," "]
[null,"Assayfit Pro 1.3",null,null,null,null,"Input",null,null,null,null,null,null,null,"Output"]
[null,"http://www.assayfit.com/",null,null,null,null,"xdata","ydata","weights","xlimits","start","xknown","yknown",null,"xdata","ydata","weights","percent","yfitted","resid","paraminfo","param","yknown","xfromyknown","xknown","yfromxknown","xcurve","ycurve","infoname","info"]
[null,"email",null,null,500,null,0,1,null,null,null,null,4,null,9.9999999999999995E-7,1,1,13.9,1.0012571050100001,-1.25710501399E-3,"       A",8.7805347267799991,4,1.27275000993,null,null,9.9999999999999995E-7,1.0012571050100001,"Run ID:","Excel_example"]
[null,"excelelisa@assayfit.com",null,null,250,null,1,3.5,null,null,null,null,null,null,1,3.5,1,48.6,3.4877092317399998,1.22907682586E-2,"       B",-1.1988399269000001,null,null,null,null,1.3048573555200001E-6,1.0012571930600001]
[null,"key",null,null,62.5,null,2,5,null,null,null,null,null,null,2,5,1,69.400000000000006,5.0376157420299998,-3.7615742031899997E-2,"       C",1.8779647742200001,null,null,null,null,1.7026527182499999E-6,1.0012573141800001,"Function:",401]
[null,"free",null,null,31.25,null,3,6,null,null,null,null,null,null,3,6,1,83.3,5.9552143687300001,4.4785631266900001E-2,"       D",1.0012568707,null,null,null,null,2.2217189233E-6,1.0012574808300001]
[null,"function",null,null,7.8125,null,4,6.5,null,null,null,null,null,null,4,6.5,1,90.3,6.5422273975799996,-4.2227397582699999E-2,null,null,null,null,null,null,2.89902627896E-6,1.00125771008,"UTC DateTime:","2019-03-17T15:39:10"]
[null,401,null,null,3.90625,null,5,7,null,null,null,null,null,null,5,7,1,97.2,6.9435409217000004,5.6459078297800003E-2,null,null,null,null,null,null,3.7828157639500001E-6,1.0012580254900001]
[null,{"$f":"VLOOKUP(B9,A73:D90,2,FALSE)","v":"4 parameter logistic"},null,null,null,null,6,7.2,null,null,null,null,null,null,6,7.2,1,100,7.2324353510000003,-3.2435351001799999E-2,"Fit function:",null,null,null,null,null,4.9360349741500001E-6,1.0012584594,"User:","excelelisa@assayfit.com"]
[null,{"$f":"VLOOKUP(B9,A73:D90, 3,FALSE)","v":"(D + ((A - D) / (1 + ((x / C) ^ B))))"},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"(D + ((A - D) / (1 + ((x / C) ^ B)))) |4 parameter logistic",null,null,null,null,null,6.4408215431200001E-6,1.0012590563699999]
[null,"server",null,null,1.953125,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,8.40435336612E-6,1.0012598776399999,"IP address:"]
[null,"https://service1.assayfit.com/",null,null,0,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Inv function:",null,null,null,null,null,1.09664823082E-5,1.0012610075199999]
[null,{"$f":"VLOOKUP(B13,B35:C71,2,FALSE)","v":"EU-west"},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"(((((A - D) / (y - D)) - 1) ^ (1 / B)) * C)",null,null,null,null,null,1.4309695104E-5,1.00126256196,"Kernel time:",1.6E-2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.86721109116E-5,1.0012647004799999,"Service time:",0.33700000000000002]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.43644412661E-5,1.00126764256,"Application time:",0.56640625]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.1792120399100002E-5,1.0012716901500001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.1484182150300002E-5,1.0012772586400001,"Status code:",0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.4130940216499998E-5,1.00128491952]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7.06331555026E-5,1.0012954589900001,"Info:","http://www.assaycloud.com/"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,9.2166192501100006E-5,1.0013099586900001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.2026373421500001E-4,1.0013299066600001,"Intended use","For research use only"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.5692701819299999E-4,1.0013573500399999]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.04767373968E-4,1.0013951051400001,"License:","When you use this software you agree with the software license on https://www.assayfit.com/content/agreement.txt"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.6719221409299997E-4,1.00144704637]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.4864772589599999E-4,1.0015185037100001,"Sum of Squares:",9.5961727374399997E-3]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.5493554962000002E-4,1.00161680947]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.9362599820799995E-4,1.0017520502099999,"Param startvalues:"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7.7459725018899997E-4,1.0019381008499999,"       A",7.2]
[null,null," ",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.0107389194700001E-3,1.0021940466899999,"       B",0]
["link","https://service1.assayfit.com/service.svc/http/Assayfitgetcsv?key=free&email=excelelisa@assayfit.com&version=xl13&function=401&xdata=0;1;2;3;4;5;6&ydata=1;3.5;5;6;6.5;7;7.2&weights=;;;;;;&start=;;;;;;&yknown=4&xknown=&xlimits=;;&runid=Excel_example"," ",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.31887011358E-3,1.0025461383300001,"       C",1.4]
["response","1e-06;1.0;1.0;13.9;1.00125710501;-0.00125710501399;       A;8.78053472678;4.0;1.27275000993;;;1e-06;1.00125710501;Run ID:;Excel_example\r\n1.0;3.5;1.0;48.6;3.48770923174;0.0122907682586;       B;-1.1988399269;;;;;1.30485735552e-06;1.00125719306;;\r\n2.0;5.0;1.0;69.4;5.03761574203;-0.0376157420319;       C;1.87796477422;;;;;1.70265271825e-06;1.00125731418;Function:;401.0\r\n3.0;6.0;1.0;83.3;5.95521436873;0.0447856312669;       D;1.0012568707;;;;;2.2217189233e-06;1.00125748083;;\r\n4.0;6.5;1.0;90.3;6.54222739758;-0.0422273975827;;;;;;;2.89902627896e-06;1.00125771008;UTC DateTime:;3/17/2019 3:39:10 PM\r\n5.0;7.0;1.0;97.2;6.9435409217;0.0564590782978;;;;;;;3.78281576395e-06;1.00125802549;;\r\n6.0;7.2;1.0;100.0;7.232435351;-0.0324353510018;Fit function:;;;;;;4.93603497415e-06;1.0012584594;User:;excelelisa@assayfit.com\r\n;;;;;;(D + ((A - D) / (1 + ((x / C) ^ B)))) |4 parameter logistic;;;;;;6.44082154312e-06;1.00125905637;;\r\n;;;;;;;;;;;;8.40435336612e-06;1.00125987764;IP address:;85.148.227.82\r\n;;;;;;Inv function:;;;;;;1.09664823082e-05;1.00126100752;;\r\n;;;;;;(((((A - D) / (y - D)) - 1) ^ (1 / B)) * C);;;;;;1.4309695104e-05;1.00126256196;Kernel time:;0.016\r\n;;;;;;;;;;;;1.86721109116e-05;1.00126470048;Service time:;0.337\r\n;;;;;;;;;;;;2.43644412661e-05;1.00126764256;Application time:;\r\n;;;;;;;;;;;;3.17921203991e-05;1.00127169015;;\r\n;;;;;;;;;;;;4.14841821503e-05;1.00127725864;Status code:;0.0\r\n;;;;;;;;;;;;5.41309402165e-05;1.00128491952;;\r\n;;;;;;;;;;;;7.06331555026e-05;1.00129545899;Info:;http://www.assaycloud.com/\r\n;;;;;;;;;;;;9.21661925011e-05;1.00130995869;;\r\n;;;;;;;;;;;;0.000120263734215;1.00132990666;Intended use;For research use only\r\n;;;;;;;;;;;;0.000156927018193;1.00135735004;;\r\n;;;;;;;;;;;;0.000204767373968;1.00139510514;License:;When you use this software you agree with the software license on https://www.assayfit.com/content/agreement.txt\r\n;;;;;;;;;;;;0.000267192214093;1.00144704637;;\r\n;;;;;;;;;;;;0.000348647725896;1.00151850371;Sum of Squares:;0.00959617273744\r\n;;;;;;;;;;;;0.00045493554962;1.00161680947;;\r\n;;;;;;;;;;;;0.000593625998208;1.00175205021;Param startvalues:;\r\n;;;;;;;;;;;;0.000774597250189;1.00193810085;       A;7.2\r\n;;;;;;;;;;;;0.00101073891947;1.00219404669;       B;0.0\r\n;;;;;;;;;;;;0.00131887011358;1.00254613833;       C;1.4\r\n;;;;;;;;;;;;0.00172093736868;1.00303047861;       D;1.0\r\n;;;;;;;;;;;;0.00224557778391;1.00369671435;;\r\n;;;;;;;;;;;;0.00293015868872;1.00461310602;;\r\n;;;;;;;;;;;;0.00382343911782;1.00587348495;Param LCL:;\r\n;;;;;;;;;;;;0.00498904265626;1.00760679193;       A;\r\n;;;;;;;;;;;;0.00650998900701;1.00999013769;       B;\r\n;;;;;;;;;;;;0.00849460704014;1.01326665366;       C;\r\n;;;;;;;;;;;;0.0110842504786;1.01776982891;       D;\r\n;;;;;;;;;;;;0.0144633657674;1.02395657528;;\r\n;;;;;;;;;;;;0.0188726292071;1.03245193387;;\r\n;;;;;;;;;;;;0.0246260890388;1.04410911329;Param UCL:;\r\n;;;;;;;;;;;;0.03213353342;1.06008934848;       A;\r\n;;;;;;;;;;;;0.0419296774418;1.08196668009;       B;\r\n;;;;;;;;;;;;0.0547122480245;1.11186272531;       C;\r\n;;;;;;;;;;;;0.0713916792717;1.15261496567;       D;\r\n;;;;;;;;;;;;0.0931559578205;1.20797743822;;\r\n;;;;;;;;;;;;0.121555236772;1.28284239209;;\r\n;;;;;;;;;;;;0.158612244804;1.38345167935;Pearson:;\r\n;;;;;;;;;;;;0.206966354308;1.5175329726;       R;\r\n;;;;;;;;;;;;0.270061569763;1.69424582372;       p;\r\n;;;;;;;;;;;;0.352391825749;1.92376201208;;\r\n;;;;;;;;;;;;0.459821065853;2.21625994746;Spearman:;\r\n;;;;;;;;;;;;0.6000009;2.58014453058;       R;\r\n;;;;;;;;;;;;0.710204963265;2.84981404463;       p;\r\n;;;;;;;;;;;;0.820409026531;3.10444480415;;\r\n;;;;;;;;;;;;0.930613089796;3.34418577954;X Limits:;\r\n;;;;;;;;;;;;1.04081715306;3.56953792257;       Low;2.28992610202e-05\r\n;;;;;;;;;;;;1.15102121633;3.78119179344;       High;154011.594093\r\n;;;;;;;;;;;;1.26122527959;3.97992975303;;\r\n;;;;;;;;;;;;1.37142934286;4.16656633339;Y Limits:;\r\n;;;;;;;;;;;;1.48163340612;4.34191199106;       Low;1.0012668707\r\n;;;;;;;;;;;;1.59183746939;4.50675150872;       High;8.78052472678\r\n;;;;;;;;;;;;1.70204153265;4.66183169518;;\r\n;;;;;;;;;;;;1.81224559592;4.80785502037;;\r\n;;;;;;;;;;;;1.92244965918;4.94547702987;;\r\n;;;;;;;;;;;;2.03265372245;5.07530614062;;\r\n;;;;;;;;;;;;2.14285778571;5.19790490269;;\r\n;;;;;;;;;;;;2.25306184898;5.31379212609;;\r\n;;;;;;;;;;;;2.36326591224;5.42344547851;;\r\n;;;;;;;;;;;;2.47346997551;5.52730429688;;\r\n;;;;;;;;;;;;2.58367403878;5.62577244697;;\r\n;;;;;;;;;;;;2.69387810204;5.71922112696;;\r\n;;;;;;;;;;;;2.80408216531;5.80799155163;;\r\n;;;;;;;;;;;;2.91428622857;5.89239748134;;\r\n;;;;;;;;;;;;3.02449029184;5.97272757816;;\r\n;;;;;;;;;;;;3.1346943551;6.04924758346;;\r\n;;;;;;;;;;;;3.24489841837;6.12220231862;;\r\n;;;;;;;;;;;;3.35510248163;6.19181751573;;\r\n;;;;;;;;;;;;3.4653065449;6.25830148737;;\r\n;;;;;;;;;;;;3.57551060816;6.32184664644;;\r\n;;;;;;;;;;;;3.68571467143;6.38263088738;;\r\n;;;;;;;;;;;;3.79591873469;6.44081884012;;\r\n;;;;;;;;;;;;3.90612279796;6.49656300788;;\r\n;;;;;;;;;;;;4.01632686122;6.55000479928;;\r\n;;;;;;;;;;;;4.12653092449;6.60127546453;;\r\n;;;;;;;;;;;;4.23673498776;6.65049694476;;\r\n;;;;;;;;;;;;4.34693905102;6.69778264288;;\r\n;;;;;;;;;;;;4.45714311429;6.7432381235;;\r\n;;;;;;;;;;;;4.56734717755;6.78696174876;;\r\n;;;;;;;;;;;;4.67755124082;6.8290452564;;\r\n;;;;;;;;;;;;4.78775530408;6.86957428572;;\r\n;;;;;;;;;;;;4.89795936735;6.9086288563;;\r\n;;;;;;;;;;;;5.00816343061;6.94628380436;;\r\n;;;;;;;;;;;;5.11836749388;6.98260918065;;\r\n;;;;;;;;;;;;5.22857155714;7.01767061358;;\r\n;;;;;;;;;;;;5.33877562041;7.05152964112;;\r\n;;;;;;;;;;;;5.44897968367;7.08424401409;;\r\n;;;;;;;;;;;;5.55918374694;7.11586797394;;\r\n;;;;;;;;;;;;5.6693878102;7.1464525071;;\r\n;;;;;;;;;;;;5.77959187347;7.1760455782;;\r\n;;;;;;;;;;;;5.88979593673;7.20469234421;;\r\n;;;;;;;;;;;;6.0;7.232435351;;\r\n",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.72093736868E-3,1.0030304786099999,"       D",1]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.2455777839100002E-3,1.00369671435]
[null,"Server"," ",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.9301586887199998E-3,1.0046131060200001]
["Public    ","https://service1.assayfit.com/","EU-west",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.8234391178199999E-3,1.00587348495,"Param LCL:"]
["Public    ","https://service2.assayfit.com/","USA-east",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.9890426562600003E-3,1.00760679193,"       A"]
["Public    ","https://service3.assayfit.com/","USA-west",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,6.5099890070100001E-3,1.00999013769,"       B"]
["Public    ","https://service4.assayfit.com/","Asia",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,8.4946070401400002E-3,1.0132666536599999,"       C"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.10842504786E-2,1.0177698289099999,"       D"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.44633657674E-2,1.0239565752799999]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.8872629207099999E-2,1.03245193387]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.4626089038800002E-2,1.04410911329,"Param UCL:"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.2133533419999999E-2,1.06008934848,"       A"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.1929677441799998E-2,1.0819666800900001,"       B"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.4712248024499997E-2,1.11186272531,"       C"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7.1391679271699995E-2,1.15261496567,"       D"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,9.3155957820499999E-2,1.2079774382199999]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.121555236772,1.2828423920900001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.15861224480399999,1.38345167935,"Pearson:"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.20696635430800001,1.5175329726,"       R"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.270061569763,1.69424582372,"       p"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.35239182574900002,1.9237620120800001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.45982106585299998,2.2162599474600002,"Spearman:"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.60000089999999995,2.5801445305800002,"       R"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.71020496326500004,2.84981404463,"       p"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.82040902653100001,3.1044448041499999]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.93061308979599999,3.3441857795400001,"X Limits:"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.0408171530600001,3.5695379225699999,"       Low",2.28992610202E-5]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.15102121633,3.7811917934400001,"       High",154011.59409299999]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.2612252795900001,3.97992975303]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.37142934286,4.1665663333899996,"Y Limits:"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.4816334061200001,4.3419119910599999,"       Low",1.0012668707000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.5918374693899999,4.5067515087199999,"       High",8.7805247267799995]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.70204153265,4.6618316951800001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.8122455959199999,4.8078550203699999]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.92244965918,4.9454770298700002]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.0326537224500001,5.0753061406200004]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.14285778571,5.1979049026900004]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.2530618489799998,5.3137921260900001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.3632659122400002,5.4234454785099997]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.47346997551,5.5273042968799997]
[null,"functionlist",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.5836740387799999,5.6257724469700001]
[101,"Linear","A + (B * x)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.6938781020400002,5.71922112696]
[103,"Passing Bablok linear","A + (B * x)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.8040821653100001,5.8079915516299998]
[201,"2nd order polynomial","(A  + B * x  + C * x ^ 2)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.91428622857,5.8923974813399997]
[301,"3rd order polynomial","(A  + B * x  + C * x ^ 2 + D * x ^ 3)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.0244902918399998,5.9727275781599998]
[401,"4 parameter logistic","(D + ((A - D) / (1 + ((x / C) ^ B))))",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.1346943551000002,6.0492475834599997]
[402,"4 parameter logistic Assayfit","(A + ((B - A) / (1 + ((x / C) ^ D))))",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.24489841837,6.1222023186200003]
[501,"5 parameter logistic","(D + ((A - D) /((1 + ((x / C) ^ B)) ^ E)))",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.3551024816299999,6.1918175157300004]
[502,"5 parameter logistic Assayfit","(A + ((B - A) / ((1 + ((x / C) ^ D)) ^ E)))",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.4653065448999998,6.2583014873699998]
[601,"Point to point","NA",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.5755106081600001,6.3218466464400001]
[602,"Univariate spline","NA",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.68571467143,6.3826308873800004]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.7959187346899999,6.4408188401200004]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.9061227979600002,6.4965630078799999]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.0163268612199996,6.5500047992799999]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.1265309244899999,6.6012754645299996]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.2367349877600002,6.6504969447600004]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.3469390510199997,6.69778264288]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.45714311429,6.7432381235000003]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.5673471775500003,6.7869617487599996]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.6775512408199997,6.8290452563999997]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.7877553040800001,6.8695742857199997]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.8979593673500004,6.9086288563]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.0081634306099998,6.9462838043600001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.1183674938800001,6.9826091806499999]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.2285715571400004,7.01767061358]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.3387756204099999,7.0515296411200001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.4489796836700002,7.0842440140900003]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.5591837469399996,7.1158679739400004]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.6693878101999999,7.1464525071000002]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.7795918734700003,7.1760455782000001]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.8897959367299997,7.2046923442099997]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,6,7.2324353510000003]

{"sheet":"Sheet1","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}